## Slide 1: Weather monitoring status and plans @ Armazones
Lluís Font and Markus Gaug
UAB & CERES-IEEC
Central Calibration Facilities meeting
Barcelona 20-23 June 2016

## Slide 2: Overview
Lluís Font and Markus Gaug
CCF meeting Barcelona 20-23 June 2016
  Provide the site with weather monitoring information to guarantee safety operation of the telescopes. Prevent equipment damage.
  Contribute to the site climatology and full atmospheric characterization of the site.
The goals
The strategy
  Acquire robust WS and weather monitoring instrumentation (24/365 with no failure for 30 years of remote operation)
  Redundancy
  Final selection and placement of the sensors is site-specific (Classic WS + anemometers + rain sensors + complementary instruments)
  Production: all equipment and implementation for methods that are part of the final observatory .
1

## Slide 3: The Southern Site: Armazones
Pre-production
3.10.3.4.6 |  |  |  |  | Weather monitoring |  |  |  |  |  | 
3.10.3.4.6.7 |  |  |  |  |  | Complementary Instruments |  |  |  |  | 
3.10.3.4.6.7.1 |  |  |  |  |  |  | Electric field mills |  |  |  | 
3.10.3.4.6.7.1.1 |  |  |  |  |  |  |  | Establish usefulness |  |  | 
3.10.3.4.6.7.2 |  |  |  |  |  |  | Dust counters |  |  |  | 
3.10.3.4.6.7.2.1 |  |  |  |  |  |  |  | Establish usefulness |  |  | 
3.10.3.4.6.7.3 |  |  |  |  |  |  | Accelerometers |  |  |  | 
3.10.3.4.6.7.3.1 |  |  |  |  |  |  |  | Establish usefulness |  |  | 
3.10.3.4.6.7.4 |  |  |  |  |  |  | National Rain radars |  |  |  | 
3.10.3.4.6.7.4.1 |  |  |  |  |  |  |  | Check availability |  |  | 
3.10.3.4.6.7.4.2 |  |  |  |  |  |  |  | Check possibility of integration in ACTL |  |  | 
3.10.3.4.6.7.5 |  |  |  |  |  |  | Weather forecasts |  |  |  | 
3.10.3.4.6.7.5.1 |  |  |  |  |  |  |  | Check availability |  |  | 
3.10.3.4.6.7.5.2 |  |  |  |  |  |  |  | Check possibility of integration in ACTL |  |  | 



Probably not needed. Still to be studied.

Useful, although no studies performed yet
Push for usefulness studies
Next actions (to do)
Lluís Font and Markus Gaug
CCF meeting Barcelona 20-23 June 2016
2
Coverage: 100% :no equipment cost; only labour (FTEs)

Useful, although analysis still ongoing
Not available for Armazones
Useful for aerosol modelling and feedback to operators

## Slide 4
Production
Lluís Font and Markus Gaug
CCF meeting Barcelona 20-23 June 2016
3
10 COM | 4.100.030.04.06 | Weather monitoring | € 374.868,00
10 COM | 4.100.030.04.06.01 | Classic weather station | € 55.135,00
10 COM | 4.100.030.04.06.02 | Anemometers | € 98.928,00
10 COM | 4.100.030.04.06.03 | Rain sensors | € 68.051,00
10 COM | 4.100.030.04.06.04 | Complementary Instruments | € 152.754,00
Whole CTA
Whole CTA
€ 316.339,00
€ 52.484,00
€ 83.226,00
€ 27.876,00
€ 152.754,00
Armazones
€ 161.347,00
€ 26.242,00
€ 41.613,00
€ 93.492,00
3 classic WS + 2 spares (1 from LSTs weather monitoring)
6 anemometers + 2 spares (3 recycled from LSTs weather monitoring)
9 rain sensors + 2 spares
Complementary instruments:
1 Electric field mill: 35.362,00
1 dust counter: 17.900,00
Weather forecasts: 6.000,00
Rain radars: Not available
Coverage
~ 0% !!!
Accelerometer: 34.230,00
The Southern Site: Armazones
Next steps
Ask Johannes for EoI data related to Weather monitoring.
Identify Institutes interested in collaborating.
Take advantage of Use cases and ACTL integration from the Northern site.

## Slide 5
Sensors (almost) decided
Standard Weather Stations

## Slide 6
Sensors (almost) decided
Ultrasonic anemometers 3D

## Slide 7
Sensors (almost) decided
Rain sensor: PRECIPITATION SENSOR – IRSS 88 from Eigenbrodt