## Slide 1: SCT-OS Discussion Notes
Vladimir Vassiliev, UCLA

## Slide 2
3/2 F
1/3 F
Schwarzschild –type OS
Aplanatic Solution (2/3, 2/3)
“de-magnifying” telescope
(1905)

## Slide 3: Point Spread Function
The lines show OSs
with minimal
astigmatism
for a given
value of a
Preferred solution for use in ACT applications has a=2/3, q=2/3

## Slide 4: Collecting Area and FP Curvature
Light
Collecting
Area
Focal
Plane
Curvature
R650=2.6m
dZ650=3.9 cm
at 45 cm.
Example for
F=500 cm

## Slide 5: OS Specifications

## Slide 6: Vignetting and PSF
Field angle [deg]
Effective light collecting area [m2]
Field angle [deg]
PSF=2MAX{ sx, sy} [arcmin]
Vignetting at 4deg field angle: -5%
PSF < 4 arcmin within 8deg FoV

## Slide 7: Primary Segmentation
Segmentation Scheme A (75 panels)
Segmentation Scheme D (60 panels)
5-fold symmetry

## Slide 8: Primary Panels Specifications
Notes: Phase Measuring Deflectometry or another non interferometric method

## Slide 9: Secondary Segmentation
Segmentation Scheme F (36 panels)
Segmentation Scheme H (24 panels)
4-fold symmetry
8-fold symmetry

## Slide 10: Secondary Panels Specifications

## Slide 11: Environmental Specifications I

## Slide 12: Environmental Specifications II
The tests designed in this report have been designed to conform to ISO (International Organization for Standardization) and American Military (MIL) standards where possible, although these have been tuned where necessary to assess the suitability of mirrors for IACTs, given the permanent exposure to the environment over a period of years. Differences between the tests described here and the ISO/MIL specifications are highlighted.

## Slide 13: FP Specifications
MAPMT implementation (8x8 image pixels, 4x4 trigger pixels)

## Slide 14: Tolerances Translational d.f.
Primary displacement
Secondary displacement

## Slide 15: Tolerances Translational d.f.
Focal Plane displacement
FP curvature & displacement
Focal Plane sag at the FoV edge is -22.67 mm
Delta (MAPT center to edge) – 2.9 mm
Delta (SiPM trigger pixel) – 0.73 mm

## Slide 16: Tolerances all d.f.
Detailed work is in progress
Error budgets, etc.

## Slide 17: OS PBS, WBS, & ICDs
Later…

## Slide 18: Alignment Notes

## Slide 19: Global Alignment System
s
Two CCDs
Viewing sky and focal plane
Utilize images of stars and auxiliary laser system
Relative alignment of mirror surfaces
Removal of low spatial frequency modes in figures of both mirrors
CCD S
CCD C
by Phil Kaaret

## Slide 20: Panel-to-Panel Alignment System
UCLA Lab
Stewart Platform 6 df of which 3 df are critical

## Slide 21: Alignment Syetem Prototyping
Prototype segment of OSS for SC telescope with Stewart Platform mounted on ALMA mirror. Assembly is made with the 5 degrees of freedom inexpensive joint design developed at UCLA Machine Shop. Individual actuators can be positioned with ~1.5 mm

## Slide 22: Actuators and angle encoders

## Slide 23: Controller
Controller board
Embedded computer with OS
Ethernet, wireless Ethernet, Bluetooth etc…
Substantial on-board processing power available
Can be aware of and apply calibration
Large (or multiple) software applications possible

## Slide 24: Gumstix Verdex XM4
Marvell (Intel) XScale PXA270 400MHz ARM based CPU
64MB RAM
16MB Flash
60-pin Hirose I/O connector. General purpose I/O (GPIO) and alternate functions
Simple Gumstix I/O expansion boards
or custom board
Actual size: 8cm × 2cm
$129.00 (1 unit)

## Slide 25: Gumstix expansion boards
$27.50
$40.00
$25.00
$65.00
$130.00
$99.00
Single unit prices shown

## Slide 26: Mirror control board
Stepper motor drivers
ADCs for encoders and position sensors
Console serial port
60-pin Hirose connector

## Slide 27: Mirror control board w/CPU & E-net

## Slide 28: Edge Sensors
Non-imaging PSD or WebCam
Number of sensors per mirror: 4-6
Provide redundancy and over-constrain system to tolerate possible failures of sensors

## Slide 29: Mirror control software
On-board software:
  CORBA interface with central computer – respond to commands, store/retrieve state data in central database
  Move mirrors by pulsing motor controllers
  Monitor encoders during motion – guard against collision
  Sample PSDs and temperature (?) as necessary
  Assist in calibration of PSDs and Stewart platform
Central control software:
  Monitor star images (focal plane CCD)
  Calculate required facet motions based on elevation and temperature, and input from CCD & PSDs if necessary
  Coordinate motion of mirror facets
by S. Fegan

## Slide 30: Newspaper Ad
The 9m diameter original Schwarzschild IACT is an inexpensive, high-performance telescope that is easy-to-use, maintenance-free, and completely portable. Its wide field of view, beautiful images and ease of use make it an excellent telescope for beginner and expert optical and gamma-ray astronomer alike.
just a dream… (1st AGIS Meeting, UCLA)