## Slide 1: Simulation Studies of CTA Reconstruction Performance
Matthew Wood
Jim Chiang
Stefan Funk
Tobias Jogler
Jon Dumm (UMN)

## Slide 2: Scope of Study
Evaluate performance of a CTA-like instrument using CORSIKA-generated gamma-ray showers (30 GeV - 3 TeV)
Idealized Detector Model – allows telescope characteristics influencing array performance to be more easily disentangled
Focus on ‘contained’ events and configurations that most closely correspond to the proposed designs for the Medium-Sized Telescope (MST)
  Schwarzschild-Couder (SC-MST)
  Davies-Cotton (DC-MST)
Performance Metrics
  Gamma-ray Angular Resolution – 68% Containment Radius (R68)
  Energy Resolution
  Point-Source Sensitivity (relative signal-to-noise) in background-dominated regime
Array Footprint
Uncontained Events
Contained Events

## Slide 3: Idealized Detector Model
Array of 61 MSTs (10 m aperture)
Constant Gaussian Optical PSF across FoV (no ray-tracing)
Light losses modeled with standard QE and reflectivity
Simplified Electronics Model
  Infinite integration gate
  Single PE Charge Resolution: σq= 0.4
  Electronics Noise: σb = 0.1
Night-sky background photons with constant density across the FoV (100 PE/deg2)
Trigger simulated with a threshold on true image amplitude (60 PE)

## Slide 4: Gamma-ray Reconstruction
Reconstruction Parameters
  Trajectory – Direction/Core Position
  Energy
  Interaction Depth
Likelihood-based Reconstruction
  Find the trajectory, energy, and interaction depth that maximize the likelihood for the image intensity in each pixel as computed from an image template model
  Computationally slow but better performance than standard geometric reconstruction (Naurois et al. 2009)
Rx
Ry
λ
ex,y
E

## Slide 5: Likelihood Reconstruction
Library of image templates accumulated by averaging over many simulated showers
Array log-likelihood computed by summation over image pixel log-likelihoods in each telescope
Maximize array likelihood in 6D space of reconstruction variables
Data
Model

## Slide 6: Likelihood Reconstruction: Seeding
Reconstruction seeded with MC values
Insensitivity of likelihood reconstruction to parameter seeds was verified by randomizing seed values
Cleaning
Geometric Reconstruction
Likelihood Cleaning
MC
Likelihood Reconstruction

## Slide 7: Likelihood Reconstruction: Cleaning
Use seed parameters to compute list of pixels encompassing a fraction f of the model image intensity
Likelihood reconstruction is only weakly dependent on f for f >0.6
f = 0.5
f = 0.6
f = 0.7
f = 0.8

## Slide 8: Likelihood Reconstruction: Cleaning
Fraction (f)
Fraction (f)
0.5
0.9
0.5
0.9
Angular Resolution
Signal-to-Noise
E = 1 TeV
E = 316 GeV
E = 100 GeV

## Slide 9: Pixel Size/Optical PSF Studies
Intrinsic transverse angular size of a Cherenkov shower is ~1 arcminute – imaging resolution on this scale is needed for best reconstruction performance
Need good PSF to realize full benefit of small pixels – ideally Rpix < Rpsf
Range of simulated pixel sizes and optical PSFs
  Dpix = 0.02-0.18 deg
  R68 = 0.01-0.08 deg
DC-MST
Dpix = 0.18 deg
SC-MST
Dpix = 0.067 deg

## Slide 10: Optical PSF
DC R68
DC R90
SC R90
Field Angle [deg]
0.08
0.04
0.02
0.01
DC PSF Range
SC PSF Range
SC R68
0.0
3.5

## Slide 11: Optical PSF
R68 = 0.01 deg
R68 = 0.02 deg
R68 = 0.04 deg
R68 = 0.08 deg
E = 100 GeV λ= 0.5

## Slide 12: Pixel Size
Dpix = 0.02 deg
Npix = ~100k
Dpix = 0.06 deg
Npix = ~10k
Dpix = 0.16 deg
Npix = ~2k
SC-MST
DC-MST

## Slide 13: Pixel Size/PSF: Angular Resolution
E = 1 TeV
SC-MST
DC-MST
Diminishing improvement for PSF < 0.02 deg
Factor of 1.5 improvement in angular resolution between DC-like and SC-like configuration

## Slide 14: Pixel Size/PSF: Angular Resolution
SC-MST
DC-MST
30 GeV
3 TeV

## Slide 15: Pixel Size/PSF: Sensitivity
SC-MST
DC-MST
30 GeV
3 TeV

## Slide 16: Pixel Size/PSF: Energy Resolution
Minimal impact on energy resolution above 100 GeV
30 GeV
3 TeV

## Slide 17: Pixel Size/PSF: NSB
Extragalactic Field
NSB = 100 PE/deg2
Galactic Field
NSB = 300 PE/deg2
E =100 GeV Shower Image

## Slide 18: Pixel Size/PSF: NSB
SC-MST
(Rpix = 0.06 deg R68 = 0.02 deg)
DC-MST
(Rpix = 0.16 deg R68 = 0.08 deg)
Smaller pixel size/PSF mitigates impact of NSB on reconstruction performance

## Slide 19: Telescope Baseline
A more densely packed array will generally have better reconstruction performance at the expense of collection area
A natural scale for the baseline is ~120-140 m (~4 telescopes in Cherenkov light pool)
B = 100 m
B = 140 m

## Slide 20: Telescope Baseline
Baselines ≥ 140 m are preferred

## Slide 21: Light Collection Area
Effective Light Collection Area
  Mirror Area
  Focal Plane Efficiency (deadspace, lightcones, etc.)
  Photosensor PDE
All factors contributing to light collection are folded into a single efficiency scaling (1.0 = canonical 78.5 m2 MST)
 | Effective Area (250-700 nm) [m2] | Scale Factor
DC-MST | 16.2 | 1.45
Reference MST | 11.2 | 1.0
SC-MST (ASTRI SiPM) | 9.2 | 0.82
SC-MST (Hamamatsu MPPC) | 8.3 | 0.74
SC-MST (MAPMT) | 5.0 | 0.45

## Slide 22: Light Collection Area: Angular Resolution
E = 316 GeV
~3x
SC MST
(MAPMT)
DC MST
SC MST
(SiPM)

## Slide 23: Light Collection Area: Angular Resolution
Rpix = 0.06 deg R68 = 0.02 deg
Trigger threshold (60 PE) increases impact of light collection area at low energies
ε=0.56
ε=1.0
ε=1.78

## Slide 24: Light Collection Area: Sensitivity
E = 316 GeV
DC MST
~30%
SC MST
(MAPMT)
SC MST
(SiPM)

## Slide 25: Light Collection Area: Sensitivity
SC MST
DC MST

## Slide 26: Geomagnetic Field
All simulated performance shown thus far generated with B-Field switched off
Influence of geomagnetic field is expected to degrade reconstruction performance for low energy showers
Compare reconstruction performance for showers simulated with and without B-Field
  Equatorial B-field configuration |B| = 31.3 μT
  Analyze with image templates generated with and without B-Field

## Slide 27: Geomagnetic Field
B-Field used for these studies:
|B| = 31.3 μT (Bx =27.5 μT, Bz=-15.5 μT)

## Slide 28: Geomagnetic Field: Angular Resolution
Rpix = 0.06 deg R68 = 0.02 deg
No B-Field
B-Field w/ Phi-Averaged Template
B-Field w/ B=0 Template

## Slide 29: Geomagnetic Field
Φ=0°
Φ=45°
Φ=90°
Φ=135°
Φ=180°
E = 100 GeV
R = 80 m
λ=0.5
Φ: Viewing angle relative
to magnetic field

## Slide 30: Background Rejection
Likelihood model can also be used for background rejection by comparing log-likelihood with its expected value – “goodness of fit”
Work currently underway to study background rejection as a function of pixel size, light collection, etc.
Naurois et al. 2009

## Slide 31: Conclusions
Image Resolution
  A small pixel size in conjunction with good optical PSF (R68 ≤ 0.02 deg) can improve angular resolution/point-source sensitivity of a CTA-like array by as much as ~40-60%
  An optical PSF of R68 = 0.02 deg (SC-MST PSF at ~3 deg) is sufficient to gain most of the improvement in angular resolution for Rpix ~ 0.06 deg
  Improved image resolution reduces impact of NSB on reconstruction performance
  Image resolution has minimal impact on energy resolution
Light Collection Area
  Imaging resolution is more important for angular resolution than light collection area at high energies (> 100 GeV) – SC-like configuration will have superior angular resolution to MST-like configuration regardless of light collection area of the respective telescopes
  Light collection area becomes relevant below 100-200 GeV due to impact on trigger threshold
Geomagnetic field
  Strong influence on reconstruction performance below 1 TeV
  Critical consideration for evaluating sites and studying array performance at low to intermediate energy

## Slide 32: Future Work
Study performance of likelihood analysis using image templates with viewing angle dependence
Develop simplified version of read_hess (slim_read_cta) incorporating likelihood reconstruction and density-based image cleaners
Explore background rejection and generate differential sensitivity curves for the configurations under study using both idealized detector and sim_telarray (i.e. Hybrid sims) simulation frameworks

## Slide 33: Conclusions/Next Steps

## Slide 34: Event Containment
Inner
Inner Edge
Outer Edge
Outer