## Slide 1
TRACKING CURRENT MAINTENANCE NEEDS
              LST1

## Slide 2
LST1 - MAINTENANCE
LST1 MAINTENANCE
INFRA ONSITE (ORM)
FIRE EXTINGUISHERS
ATS
GENSET
OTHERS
INFRA OFFSITE (MIRCA)
FIRE EXTINGUISHERS
OTHERS
LST1 TELESCOPE
ALS
BOGIES
RAIL
ENERGY CONTAINERS
LIFE LINE
OTHERS
COMPUTING

## Slide 3
LST1 - INFRA MAINTENANCE (ONSITE AND OFFSITE)
INFRA MAINTENANCE
Fire Extinguishers
A/C
Pest control
Plant control
Safety equipment *
Cherry Picker
ATS
GENSET
IT container
Insurances
Cleaning
Alarm by Securitas Direct
* Life Line is not INFRA
PLANNING OF ACTIVITIES

## Slide 4
LST1 - INFRA ONSITE MAINTENANCE
Fire Extinguishers (2 batches)
Hired company: Extinpalma
1 inspection/year
Do we need to stop the telescope? NO
Preventive maintenance
Payment per visit
Standard: REAL DECRETO 513/2017, of 22nd May
NAME |  | LAST INSPECTION |  |  |  | 
 | PURCHASE | Cost | Manpower | Duration (min) | Date | Certificate
BATCH 1 (8) |  |  |  |  |  | 
TOTAL | 18/09/2018 | 72.00 € | 1 person | 80.00 | 27/09/2019 | 909128
BATCH 2 (12) |  |  |  |  |  | 
TOTAL | 2017 | 108.00 € | 1 person | 120.00 | 15/01/2020 | 1033

## Slide 5
LST1 - INFRA ONSITE MAINTENANCE
PEST CONTROL
Preventive maintenance

## Slide 6
LST1 – INFRA ONSITE MAINTENANCE
PLANT CONTROL
We don´t need to stop the telescope
Preventive maintenance (fire control)
Next activity: this summer

## Slide 7
LST1 - INFRA ONSITE MAINTENANCE
PPE-EPIS
ITEM |  | Serial Nº | Manufacture date | Purchase date | First use | Inspection 1 |  | 
 |  |  |  |  |  | INSPECTOR | COST | STATUS
HARNESS AVAO® BOD CROLL®FAST versión internacional. Size 0 |  |  |  | 2018 SEP | 2018-DEC | Arquitectura Vertical | € 14,00 | OK (14-10-2019)
 | HARNESS (PATRICIA) | 17H0083573514 | 2017 AUGUST |  |  |  |  | 
 | CROLL | 17E0078115371 | 2017 MAY |  |  |  |  | 
HARNESS AVAO® BOD CROLL®FAST versión internacional. Size 1 |  |  |  | 2018 SEP | 2018-sep | Arquitectura Vertical | € 14,00 | OK (14-10-2019)
 | HARNESS (DANIEL M) | 18G0141994570 | 2018 JULY |  |  |  |  | 
 | CROLL | 18F0141879151 | 2018 JUNE |  |  |  |  | 
ABSORBICA Y 80 MGO |  |  |  | 2018 SEP | XXX | Arquitectura Vertical | € 9,00 | OK (14-10-2019)
 | Rope | 17E0080730094 | 2017 MAY |  |  |  |  | 
 | Hook | 16298J7758 | 25-oct-16 |  |  |  |  | 
 | Hook | 16298j7774 | 25-oct-16 |  |  |  |  | 
ABSORBICA Y 80 MGO |  |  |  | 2018 SEP | 2018-oct | Arquitectura Vertical | € 9,00 | OK (14-10-2019)
 | Rope | 17E0080730101 | 2017 MAY |  |  |  |  | 
 | Hook | 16298J7958 | 25-oct-16 |  |  |  |  | 
 | Hook | 16298J7957 | 25-oct-16 |  |  |  |  | 
GRILON |  |  |  | 2018 OCT | 2018-oct | Arquitectura Vertical | € 8,80 | OK (14-10-2019)
 | ROPE | 18G0146863772 | 2018 JULY |  |  |  |  | 
 | POLEA | 18F0144490430 | 2018 JUNE |  |  |  |  | 
Eslinga. ANNEAU 80cm |  | 18073GK8399 | 14-mar-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 3,00 | OK (14-10-2019)
Eslinga. ANNEAU 80cm ANNEAU |  | 18073GK8400 | 14-mar-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 3,00 | OK (14-10-2019)
Eslinga. 150 cm ANNEAU |  | 17311GS8329 | 07-nov-17 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 3,00 | OK (14-10-2019)

## Slide 8
LST1 - INFRA ONSITE MAINTENANCE
PPE-EPIS
ITEM | Serial Nº | Manufacture date | Purchase date | First use | Inspection 1 |  | 
 |  |  |  |  | INSPECTOR | COST | STATUS
CARABINER OK | 18E0136072 530 | may-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 5,00 | OK (14-10-2019)
CARABINER OK | 18E0136072 493 | 01-may-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 5,00 | OK (14-10-2019)
CARABINER OK | 18E0136072 583 | may-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 5,00 | OK (14-10-2019)
CARABINER OK | 18E0136072 449 | 01-may-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 5,00 | OK (14-10-2019)
CARABINER OK | 18E0136072 407 | may-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 5,00 | OK (14-10-2019)
CARABINER OK | 18E0136072 424 | 01-may-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 5,00 | OK (14-10-2019)
CARABINER OK | 18E0136072 484 | may-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 5,00 | OK (14-10-2019)
CARABINER OK | 18E0136072 534 | 01-may-18 | 2018 SEP | 2018-oct | Arquitectura Vertical | € 5,00 | OK (14-10-2019)
Rope 60m, Industrie 10.5mm | B01L109818 | 2018 | 2018 SEP | XXX | Arquitectura Vertical | € 15,00 | OK (14-10-2019)

## Slide 9
LST1 - INFRA ONSITE MAINTENANCE
PPE-EPIS
ITEM | Serial Nº | Manufacture date | Purchase date | First use | Inspection 1 |  |  | Inspection 2 |  | 
 |  |  |  |  | INSPECTOR | COST | STATUS | INSPECTOR | COST | STATUS
Helmet 1 - VERTEX BEST | 18E0136758714 | 01/05/2018 | 2018 JUNE | 18 JUNE | LST TEAM | LST TEAM | OK (9-8-19) | LST TEAM | LST TEAM | ok 18-6-20
Helmet 3 - VERTEX BEST | 18E0136758644 | 01-may-18 | 2018 JUNE | 18 JUNE | LST TEAM | LST TEAM | OK (24-6-19) | LST TEAM | LST TEAM | ok 18-6-20
Helmet 4 - VERTEX BEST | 18E0136758673 | may-18 | 2018 JUNE | 18 JUNE | LST TEAM | LST TEAM | OK (24-6-19) | LST TEAM | LST TEAM | ok 18-6-20
Helmet 5 - VERTEX BEST | 18E136758645 | 01-may-18 | 2018 JUNE | 18 JUNE | LST TEAM | LST TEAM | OK (24-6-19) | LST TEAM | LST TEAM | ok 18-6-20
Helmet 6 - VERTEX BEST | 15182IA7353 | 01-jul-15 | ???? | 2018-may | LST TEAM | LST TEAM | OK (31-5-19) | LST TEAM | LST TEAM | ok 18-6-20
JAG SYSTEM |  |  | 2018 OCT | 2018-nov | Arquitectura Vertical | € 30,00 | OK (14-10-2019) |  |  | OK/NO OK Date: Sign:
ANTICAIDAS | IRUDEK-01-4136-225-00A | 2018 MARCH | 2018 SEP | 2018-nov | Arquitectura Vertical | € 24,00 | OK (14-10-2019) |  |  | OK/NO OK Date: Sign:
Helmet 7 - VERTEX VENT | 19H0206262454 | 2019 AUG | 01/09/2019 | 01/09/2019 |  |  |  |  |  | OK/NO OK Date: Sign:
Helmet 8 - VERTEX VENT | 19H0206262499 | 2019 AUG | 01/09/2019 | 01/09/2019 |  |  |  |  |  | OK/NO OK Date: Sign:
Helmet 9 - VERTEX VENT | 19H0206262427 | 2019 AUG | 01/09/2019 | 01/09/2019 |  |  |  |  |  | OK/NO OK Date: Sign:
Helmet 10 - VERTEX VENT | 19H0206262428 | 2019 AUG | 01/09/2019 | 01/09/2019 |  |  |  |  |  | OK/NO OK Date: Sign:

## Slide 10
LST1 - INFRA ONSITE MAINTENANCE
CHERRY PICKER
Four PREVENTIVE inspections per year by in 2018
Cost: ~1900 € /year
Opein is the authorized service company of Genie in Canary Island
CTA is going to do a new maintenance contract this year

## Slide 11
LST1 - INFRA ONSITE MAINTENANCE
GENSET, ENERGY CONTAINERS (4) AND ATS
GENSET + ENERGY CONTAINERS* by HITACHI
ABB
PEDRO BRITO
EXTINPALMA
GENSET by ERGA
ENERGY CONTAINER* by
ATS by IAC
* It is not INFRA
OCT-2018 JUNE-2020 JULY-2020

## Slide 12
LST1 - INFRA ONSITE MAINTENANCE
IT CONTAINER
SCHNEIDER maintenance contract
PREVENTIVE and CORRECTIVE maintenance (if applicable)  ~20 k€/year
  Visual, electronic, power and ambient inspection (1 visit/year)
  Cooling system (2 visits/year)
  Fire extinguisher system (4 visits/year) by Tyco
  EcoStruxure Asset Advisor
  Technical assistant 24/7
FUJITSU maintenance contract
PREVENTIVE and CORRECTIVE maintenance (if applicable) ~17 k€/year
Last week
This week

## Slide 13
LST1 - INFRA ONSITE MAINTENANCE
INSURANCE, CLEANING and OTHERS
All included insurance by
One incident and they worked very well
Cleaning Company
They clean the commissioning container once/week
A/C from commissioning container by local staff
Puntual corrective maintenance
INSURANCES LST1 | 
COMPANY | CHUBB
DURATION | 14-10-19 to 14-10-20
TYPE | COST
ALL INCLUSIVE | 18,575.10 €
CIVIL RESPONSABILITY | 3,386.19 €
TOTAL | 21,961.29 €

## Slide 14
LST1 - INFRA OFFSITE MAINTENANCE (MIRCA)
Fire Extinguishers
Batch 4: MIRCA STORAGE BUILDING
Hired company: Extinpalma
Do we need to stop the telescope? NO
Preventive maintenance

## Slide 15
LST1 - INFRA OFFSITE MAINTENANCE (MIRCA)
INSURANCE and OTHERS
Insurance by
Alarm by
Other maintenance from the owner of the building (e.g. to paint the building)
ALARM | 
COMPANY: | SECURITAS DIRECT
LOCATION: | MIRCA STORAGE BUILDING
COST | 
INSTALATION | 647.35 €
MANTEINANCE/MONTH | 45 €
INSURANCE MIRCA STORAGE BUILDING | 
COMPANY | MAPFRE
TYPE | MULTI RISK
DURATION | 18-7-20 to 18-7-21
COST | 4,863.63 €

## Slide 16
LST1 - MAINTENANCE
Activities in 2019
Telescope manager and shifters time is not included here.
Neither most of the work done on remote.
Information from LST1 Commissioning Excel file

## Slide 17
LST1 - MAINTENANCE
Activities in 2020
Information until July 2020
Covid-19: no activities during 2 months
Telescope manager and shifters time is not included here.
Neither most of the work done on remote.
Information from LST1 Commissioning Excel file

## Slide 18
LST1 - MAINTENANCE
Activities in 2019 Vs 2020
2019 | 2020
12 months | 7 months
No incidents | Storm incident (feb) corrective activities Covid-19 (during 2 months, no activities)
First year of commissioning | Several activities of commissioning are finished
Information from LST1 Commissioning Excel file

## Slide 19
LST1 - MAINTENANCE
Tracking and traceability
PURCHASE
Materials
Spares
Tools
Others
RECEPTION ON SITE
STORAGE
OR
INSTALLATION
OR
CONSUMPTION
WASTE MANAGEMENT PROCEDURE
WASTE
INVENTORY
Items
Qty
Location
Destination
Reference documents
……..

## Slide 20
THANK YOU